	
	



	Process Systems
	Customer: Customer Name

Customer Order No.: XXXXXX

Project: Project Description



	Operating Log Sheet

1 of 4

	Date:      
	NORM / ALARM
	
	
	
	

	Time:      
	
	
	
	
	

	Hour Meter Reading:      
	
	
	
	
	

	Ambient Temp / Barometric Pressure:      
	
	
	
	
	

	[image: image1.png]


Compressor


	Suction Pressure
	PSI/BAR
	     
	     
	     
	     
	     

	
	Suction Temperature
	(F / (C
	     
	     
	     
	     
	     

	
	Discharge Pressure
	PSI/BAR
	     
	     
	     
	     
	     

	
	Discharge Temperature
	(F / (C
	     
	     
	     
	     
	     

	
	Brg Oil Supply Pressure
	PSI/BAR
	     
	     
	     
	     
	     

	
	Oil Filter Pressure Diff
	PSId/BARd
	     
	     
	     
	     
	     

	
	Brg Oil Temp
	(F / (C
	     
	     
	     
	     
	     

	
	Thrust Brg Oil Press
	PSI/BAR
	     
	     
	     
	     
	     

	
	Thrust Oil Temp
	(F / (C
	     
	     
	     
	     
	     

	
	Return Oil Temp
	(F / (C
	     
	     
	     
	     
	     

	
	Sump Temp
	(F / (C
	     
	     
	     
	     
	     

	
	Bearing Drive End
	(F / (C
	     
	     
	     
	     
	     

	
	Bearing Non-Drive End
	(F / (C
	     
	     
	     
	     
	     

	
	Balance Piston Press
	PSI/BAR
	     
	     
	     
	     
	     

	
	Sump Press
	PSI/BAR
	     
	     
	     
	     
	     

	
	Oil Cooling Water On/OFF
	(F / (C
	     
	     
	     
	     
	     

	
	Slide Valve Position
	%
	     
	     
	     
	     
	     

	
	Volume Ratio
	
	     
	     
	     
	     
	     

	
	P.R.V. Position
	% Open
	     
	     
	     
	     
	     

	
	Seal Leakage 
	Drops/Min
	     
	     
	     
	     
	     

	
	Capacity Control Setpoint
	
	     
	     
	     
	     
	     

	
	Reservoir Temperature
	(F / (C
	     
	     
	     
	     
	     

	
	Oil Level 
	
	
	
	
	
	

	
	Oil Added
	GAL/LIT
	     
	     
	     
	     
	     


	Operating Log Sheet

2 of 4

	Date:
	NORM / ALARM
	
	
	
	

	[image: image2.png]


Gearbox
	Supply Oil Pressure
	PSI/BAR
	     
	     
	     
	     
	     

	
	Supply Oil Temperature
	(F / (C
	     
	     
	     
	     
	     

	
	Sump Oil Temperature
	(F / (C
	     
	     
	     
	     
	     

	
	Cooling Water On/Off
	(F / (C
	     
	     
	     
	     
	     

	
	H.S. Bearing Drive End
	(F / (C
	     
	     
	     
	     
	     

	
	H.S. Bearing Non-Drive End
	(F / (C
	     
	     
	     
	     
	     

	
	L.S. Bearing Drive End
	(F / (C
	     
	     
	     
	     
	     

	
	Oil Level 
	
	
	
	
	
	

	
	Oil Added
	GAL/LIT
	     
	     
	     
	     
	     

	Motor
	L.S. Bearing Non-Drive End
	(F / (C
	     
	     
	     
	     
	     

	
	Current  1/ 2 / 3
	Amps
	     
	     
	     
	     
	     

	
	Cooling Water On/Off
	(F / (C
	     
	     
	     
	     
	     

	
	Bearing Drive End
	(F / (C
	     
	     
	     
	     
	     

	
	Bearing Non-Drive End
	(F / (C
	     
	     
	     
	     
	     

	Evap
	Flow Rate
	     
	     
	     
	     
	     
	     

	
	Inlet Process
	(F / (C
	     
	     
	     
	     
	     

	
	Outlet Process
	(F / (C
	     
	     
	     
	     
	     

	
	Pressure Drop
	PSID/BARD
	     
	     
	     
	     
	     

	Condenser
	Flow Rate
Air
	Flow Rate
	     
	     
	     
	     
	     
	     

	
	
	Air On
	(F / (C
	     
	     
	     
	     
	     

	
	Liquid
	Wet Bulb
	(F / (C
	     
	     
	     
	     
	     

	
	
	Inlet Coolant
	(F / (C
	     
	     
	     
	     
	     

	
	
	Outlet Coolant
	(F / (C
	     
	     
	     
	     
	     

	
	
	Pressure Drop
	PSID/BARD
	     
	     
	     
	     
	     

	
	     
	     
	     
	     
	     
	     
	     


	Operating Log Sheet

3 of 4

	Econo-mizer
	
	
	NORM / ALARM
	
	
	
	

	
	Condensed liquid
	(F / (C
	     
	     
	     
	     
	     

	
	Vessel Pressure
	PSI/BAR
	     
	     
	     
	     
	     

	
	Leaving Liquid
	(F / (C
	     
	     
	     
	     
	     

	
	Level
	In/mm
	     
	     
	     
	     
	     

	
	     
	     
	     
	     
	     
	     
	     

	
	     
	     
	     
	     
	     
	     
	     

	
	     
	     
	     
	     
	     
	     
	     

	
	     
	     
	     
	     
	     
	     
	     

	
	     
	     
	     
	     
	     
	     
	     

	
	     
	     
	     
	     
	     
	     
	     

	
	     
	     
	     
	     
	     
	     
	     

	
	     
	     
	     
	     
	     
	     
	     

	
	     
	     
	     
	     
	     
	     
	     

	
	     
	     
	     
	     
	     
	     
	     

	
	     
	     
	     
	     
	     
	     
	     

	
	     
	     
	     
	     
	     
	     
	     

	
	     
	     
	     
	     
	     
	     
	     

	
	     
	     
	     
	     
	     
	     
	     

	
	     
	     
	     
	     
	     
	     
	     

	
	     
	     
	     
	     
	     
	     
	     

	
	     
	     
	     
	     
	     
	     
	     

	
	     
	     
	     
	     
	     
	     
	     

	
	     
	     
	     
	     
	     
	     
	     

	
	     
	     
	     
	     
	     
	     
	     

	
	     
	     
	     
	     
	     
	     
	     

	
	     
	     
	     
	     
	     
	     
	     

	
	     
	     
	     
	     
	     
	     
	     

	
	     
	     
	     
	     
	     
	     
	     

	
	     
	     
	     
	     
	     
	     
	     


	Operating Log Sheet

4 of 4

	Miscellaneous Readings (e.g. Turbine, engine, etc):

	Date
	     
	     
	     
	     
	     

	     
	     
	     
	     
	     
	     

	     
	     
	     
	     
	     
	     

	     
	     
	     
	     
	     
	     

	     
	     
	     
	     
	     
	     

	     
	     
	     
	     
	     
	     

	     
	     
	     
	     
	     
	     

	     
	     
	     
	     
	     
	     

	     
	     
	     
	     
	     
	     

	     
	     
	     
	     
	     
	     

	     
	     
	     
	     
	     
	     

	     
	     
	     
	     
	     
	     

	     
	     
	     
	     
	     
	     

	
	
	
	
	
	

	Comments:     

	     

	     

	     

	     

	     

	     

	     

	     

	     

	

	

	

	














































































































































































































� EMBED PBrush  ���





� EMBED PBrush  ���














	Operating Log Sheet.doc
	Status: Released
	14 FEB 2000 - Ver 1.07



[image: image3.png]


_993469924

