	YORK

Process Systems
	Installation Operation Maintenance Manual


	YORK

Process Systems
	Installation Operation Maintenance Manual



UTILITIES

LOCATION:
OUTDOORS
EXPECTED AMBIENT:


Ambient Temp. (Min.)

F


Ambient Temp. (Design/Max.)

F


Relative Humidity

%


Design Wetbulb (Design)

 F

PNEUMATIC AIR REQUIREMENTS:


Pneumatic Air Pressure Required

PSIG

Pneumatic Air Flow Required

SCFM

ELECTRICAL REQUIREMENTS:


Area Classification
NEMA 4, PURGED, N.E.C. CLASS 1, GP D, DIV 2


Driver Motor Voltage
   V- PH -  HZ


Oil Pump Voltage
   V- PH -  HZ

Oil Heater Voltage
   V- PH -  HZ

Control Voltage
   V- PH -  HZ
WATER REQUIREMENTS:


Oil Cooler:


Water Inlet Temperature :

 F


Water Return Temperature :

 F


Water Flow Rate :

 GPM


Condenser:


Water Inlet Temperature :

 F


Water Return Temperature :

 F


Water Flow Rate :

 GPM

PROCESS REQUIREMENTS: (AFTER COOLER)


Process Fluid :

 

Cooling Duty:

 Btu/hr


Process Flow Rate:

 Lb/Hr

Process Inlet Temperature:

 F


Process Outlet Temperature:

 F


Process Cooler Pressure Drop:

  PSI

LUBE OIL REQUIREMENTS:


EQUIPMENT
OIL TYPE - DISCRIPTION
QTY (GAL)

Compressor

     
     

Gear (if appl)




Driver
(see motor vendor IOM in Section 8)


Oil accompanying refrigerant escaping from a system can form a mist that could cause a fire or explosion.

WARNING: Lubrication oils may be flammable and must be handled with care.  Oils are toxic to various degrees. For critical information, obtain a MSDS data sheet by contacting YORK International Corporation (717) 762-2121 or  (800) 451-8346 (Frick oils only).
Many lube oils are hygroscopic and subject to degradation when exposed to atmosphere moisture.

REFRIGERANT REQUIREMENTS:


Refrigerant
R-xxx


Refrigerant Charge

 lb. (approx.) per system

(Note: Initial charge 80% and hold balance for trim.  Refer to Section 6)
























































































































































































�PAGE \# "'Page: '#'�'"  �YORK and Frick compressor oils are proprietary formulations.  The oil manufacturer's information is proprietary.  Procure oil through the local YORK International Corporation representative.





	Utilities.doc
	Status: Released
	25 Sep 00  Ver 1.04



