Modscan Notes

Connections to B&B adapter RS485 converter  485SD9TB

TB2 on Microgateway
Port 1 on Elink Gateway

  



                 P2-2 -              
+

P3-2+
Red to TDB on

             Black to TDA on adapter
adapter


-


Black to TDA on                                        

Red to TDB on adapter
adapter

Need small control screwdriver.

Com1

Set to 9600-8-even-1 ( same on both ends per job)

Protocall RTU

Device ID = node

Length = 10  (points)

Set modbus address

Holding register on pull down box 

Left box under view (show data)

Start w/ modbus address 0005 LCHWT

Length 10

-display options

  -unsigned decimal

RTU Standard


