PIC Module Return and Repair  

C9822A  



10/27/98



C9822


16, 17, 19, and 23 Series with PIC Modules  

07/06/98

C9822A   - PIC Module Return and Repair  
Page 1

Purpose:
To inform the field of the revised RCD Repair and Return Program for PIC modules.  Please note the new part numbers for the repaired modules.

Information:
RCD has recently announced a repair and return program for the PIC I modules (PSIO II, SMM and LID-2B), and the PIC II modules (CVC, CCM and ISM).  Under this program, modules will be sent directly to the Huntington factory for repair and returned directly to the service office.  The program to buy back defective modules is no longer available.  Any modules currently in the buy back program will be converted to the new repair program with the permission of the service office.

For domestic field offices, to send a module in for repair, first book an order with RCD on C-10.  The attached form, “PIC Repair & Return Module Rebuild Program” has the part numbers listed under the “Type of Repair” heading,  that will be used to book the order.  This form is also the packing list and must accompany the shipment of the module to the Huntington factory.  The form must be completely filled out.  The Carrier P.O. Number can be found on the C-10 Sales Order Status Detail screen.  Call your RCD Account Representative, if you need assistance. 

For international field offices, please contact your RCD Account Representative.  The cost of the repaired module with shipping may exceed the cost of a new replacement.  For this reason, a cost analysis should be done before placing a repair order.

The module should be shipped, freight pre-paid, to the following address:


United Technologies Electronic Controls

Repair and Return Program

3650 West 200 North

Huntington, IN  46750-9002

Once the module is received in the factory, it will be determined whether or not the module is repairable.  If it is repairable, the module will be repaired and returned to the service office.  The maximum repair time will be five (5) working days.  For cost information, please contact your RCD account representative.  If the module cannot be repaired, the service office will be notified, the purchase order canceled, and the defective module returned.

The list of modules eligible for this program are as follows:

PIC I

Module
Used on
Module Part Number
RCD Repair Part Number


17EX/FA
17EX54001801
17EX54001801RB


19EF/EX/FA
19EX54001901
19EX54001901RB


19XL
19XB04008501
19XB04008911RB


19XL
19XB04008911



19XL (VFD)
19XB04009101
19XB04009101RB

PSIO II
19XR
19XR04001501



19XR
19XR04006001
19XR54004601RB


19XR5
19XR54004601



23XL
23XL04007001
23XL04007215RB


23XL
23XL04007215



16, 17, 19, 23 Series
CEPL110189-02
CEPL110189-02RB

LID-2B

CESO130036
CESO130036RB

SMM

CESO121319-01
CESO121319-01RB

PIC II

Module
Used On
Module Part Number
RCD Repair Part Number

CCM
19XR
CESO130038
CESO130038RB

CVC
19XR
19XR04011604
19XR04011604RB

ISM
19XR
CESO130037
CESO130037RB

Any module sent to the factory with a part number not on the list will be returned to the service office without any repairs.

Domestic service offices should claim any warranty repairs against the machine serial number using SAMS.  The part number to be claimed is the “RCD Repair Part Number”.  International offices can follow their normal DOA claim procedure.

If there are any questions regarding this new policy, please contact your RCD account representative.

PIC REPAIR & RETURN MODULE REBUILD PROGRAM
This form must accompany the shipment of the module to the Huntington factory.  Use one form per machine.  Fill the form out completely.  Please make a copy before sending it to retain for the job site records.  The module must be shipped, freight prepaid to the following address:


United Technologies Electronic Controls

Repair and Return Program

3650 West 200 North

Huntington, IN  46750-9002

Type of Repair (Check one):
Carrier P.O. Number:
-OD





CCM Repair
PSIO II Repair

    FORMCHECKBOX 
  CESO130038RB
    FORMCHECKBOX 
  17EX54001801RB

CVC Repair
    FORMCHECKBOX 
  19EX54001901RB

    FORMCHECKBOX 
  19XR04011604RB
    FORMCHECKBOX 
  19XB04008911RB

ISM Repair
    FORMCHECKBOX 
  19XB04009101RB

    FORMCHECKBOX 
   CESO130037RB
    FORMCHECKBOX 
  19XR54004601RB

LID-2B Repair
    FORMCHECKBOX 
  23XL04007215RB

    FORMCHECKBOX 
   CESO130036RB
    FORMCHECKBOX 
  CEPL110189-02RB

SMM Repair


    FORMCHECKBOX 
   CESO121319-01RB


Chiller Model Number:





Chiller Serial Number:


Return Address:





Company:





Street Address:





City:

State:

Zip Code









Country:





Contact Name:

Phone Number:


SERVICE BULLETIN DISTRIBUTION
BULLETIN NAME:  PIC Module Return and Repair  
BULLETIN NUMBER:  C9822A  
AUTHOR:  Tom Pietrowicz
COLLS:


MODEL CODE:
16, 17, 19, and 23 Series with PIC Modules  

KEY WORDS:
CCN, CONTROLS, SERVPARTS


Mail Key
COIN
cc:Mail

X
DOMESTIC SERVICE PERSONNEL

   BSS Regional Operations Managers

   BSS Area Managers

   BSS Account Executives

   BSS Technical Consultants

   BSS Service Offices

   BSS Regional General Managers

   BSS Service Managers and Mechanics
2.40A

2.40B

2.40D

2.40M

-

2.40

2.46A
#BSS-ROM

-

-

#CBSTSE

#BSSSVC

#BSS-RGM

-


X
INTERNATIONAL SERVICE PERSONNEL

   International Service Managers

   Miscellaneous Service Personnel
5.25G

2.33A
#SBMISC

#SBMISC



DOMESTIC SALES PERSONNEL

   Canadian Field Sales

   BSS/ESS Sales/Managers

(Service Bulletins which relate to application)
2.44

2.40L
#CSD-CND

#BSSESS



INTERNATIONAL SALES PERSONNEL

   International Marketing Managers

(Service Bulletins which relate to application)
5.25C
#CIC-ASC


X
SPECIAL DISTRIBUTION

   CAES Products, Service & SO Engineers

   Miscellaneous Eng, Mktg, RCD Personnel
2.33B

2.33D
#SBMISC


File:  Specified Parts








Tom Pietrowicz


Alan M. Johnson





Mail Keys:  2.33A, 2.33B, 2.33D, 2.40, 2.40A, 2.40B, 2.40D, 2.40M, 2.46A, 5.25G


