�
Purpose:





To inform the field of an alternate gasket material for several gaskets.








Information:





Engineering and the Replacement Components Division (RCD) have qualified an alternate gasket material for the Garlock 3300.  The new material is produced by Armstrong Industrial Specialties, MP-15.  This material has been qualified for selected gaskets based on loading and application.  The new material has been approved for use with R-11, R-12, R-22, R-113, R-114, R-123, R-134a, and R-500 with mineral oil, Polyolester oil, or Alkylbenzene lubricants.   DO NOT use this bulletin as authorization to substitute the gasket material for gaskets other than those listed below.





The new material is brown in color and has a slightly different texture.  The alternate material has been approved for the following gasket part numbers and may be shipped from TR-1 or RCD:





�
CT99QX151


CT99QX201


CT99QX251


CT99QX351


CT99QX401


CT99QX501


CT99QX601


CT99QX651


CT99QX701


CT99QX801


CT99QX851


CT99QX951


CT99QX955


CT99QX960


09XB45001901


09XR05002001


17CA61-1011


17CB712-1102


17DA71-1182


17DA81-1872


17DA81-1882


17DA83-1333


17DA87-5301


17EA902-1403


17EA902-1832


17EA902-2092


17EA902-2182


17EA902-2222


17EA902-2342


17EA902-2352


17EA902-2372


17FA105-1023


17FA502-1082


17M32-1032


17M32-1111


17M32-1122


17M32-1132


17M32-1351


17M32-1501


17M32-1622


17M32-6421


17M42-1032


17M42-5701


17M42-6121


17M42-6591


17M52-1131


17M52-1132


17M52-1142


17M52-1351


17M52-1622


17M52-6671


17M52-6731


17M401-1951


17M401-2121


17P51-1053


17Q3-5551


17Q4-1212


17Q4-3691


17Q4-4541


17Q5-1212


17Q6-2432


17Q6-4541


17Q7-1212


17Q8-1212


17Q8-2432


17Q9-1212


17Q10-1212


17SA32-1021


19C35-4782


19C36-4711


19C36-4792


19C36-4821


19C37-4792


19C45-4772


19C46-2072


19C67-2372


19C85-4772


19C87-4791


19CB712-1053


19CB712-1202


19CB712-1252


19CB715-1072


19CB722-1262


19CB722-1272


19D21-2631


19DA11-1162


19DA11-5603


19DA13-1242


19EA41-1203


19EA41-1292


19EA41-1313


19EA41-1474


19EA41-1484


19EA41-5022


19EA41-5353


19EA41-6043


19EA42-1253


19EA42-6043


19EA43-1012


19EA43-5022


19EA51-1253


19EA51-1292


19EA51-1313


19EA51-1432


19EA51-1474


19EA51-1484


19EA51-6043


19EX05001401


19P57-2532


19Q14-3251


19Q16-3522


19Q19-4302


19Q22-7072


19U33-1671





�












�
SERVICE BULLETIN DISTRIBUTION





BULLETIN NAME:  � REF title \* MERGEFORMAT �Alternate Gasket Material  �





BULLETIN NUMBER:  � REF number \* MERGEFORMAT �C9829  �





AUTHOR:  � REF author \* MERGEFORMAT �Tom Pietrowicz�





COLLS:


	MODEL CODE:	� REF units \* MERGEFORMAT �17, 19, and 23 Series  �


	KEY WORDS:	SERVPARTS, MAINT





�
�
Mail Key�
COIN�
cc:Mail�
�
X�
DOMESTIC SERVICE PERSONNEL


   BSS Regional Operations Managers


   BSS Area Managers


   BSS Account Executives


   BSS Technical Consultants


   BSS Service Offices


   BSS Regional General Managers


   BSS Service Managers and Mechanics�



2.40A


2.40B


2.40D


2.40M


-


2.40


2.46A�



#BSS-ROM


-


-


#CBSTSE


#BSSSVC


#BSS-RGM


-�
�
�
X�
INTERNATIONAL SERVICE PERSONNEL


   International Service Managers


   Miscellaneous Service Personnel�



5.25G


2.33A�



#SBMISC


#SBMISC�
�
�
�
DOMESTIC SALES PERSONNEL


   Canadian Field Sales


   BSS/ESS Sales/Managers





(Service Bulletins which relate to application)�



2.44


2.40L�



#CSD-CND


#BSSESS�
�
�
�
INTERNATIONAL SALES PERSONNEL


   International Marketing Managers





(Service Bulletins which relate to application)�



5.25C�



#CIC-ASC�
�
�
X�
SPECIAL DISTRIBUTION


   CAES Products, Service & SO Engineers


   Miscellaneous Eng, Mktg, RCD Personnel�



2.33B


2.33D�



#SBMISC�
�
�



� REF number \* MERGEFORMAT �C9829  � - � REF title \* MERGEFORMAT �Alternate Gasket Material  �


Page � PAGE �1�








Alternate Gasket Material  �
�
C9829  �
�
�
�
10/29/98�
�
�
�
New�
�
�
17, 19, and 23 Series  �
�
N/A�
�






File:  Specified Parts�
�
�
�
�
�
�
�
�
Tom Pietrowicz�
�
�
Alan M. Johnson�
�
�
�
�
�
Mail Keys:  2.33A, 2.33B, 2.33D, 2.40, 2.40A, 2.40B, 2.40D, 2.40M, 2.46A, 5.25G�
�






� REF number \* MERGEFORMAT �C9829  � - � REF title \* MERGEFORMAT �Alternate Gasket Material  �


Page � PAGE �2�








Title�
�
Number�
�
�
�
Date�
�
�
�
S/S�
�
�
�
�
Date�
�






File:  �
�
�
�
�
�
�
�
�
Tom Pietrowicz�
�
�
Alan M. Johnson�
�
�
�
�
�
Mail Keys:  
