�
Purpose:





To obtain detailed, timely feedback from service personnel whenever a leak is repaired within the affected product's warranty period.  This information will be used to implement product improvements.





Background: 





CSS (Commercial Systems & Services) has formed a number of Corrective Action Teams (CAT's) to investigate and resolve product problems which result in warranty claims.  One of these CAT's has been challenged to reduce "leaks" on the 19XR and 23XL product lines.  Many warranty claims processed through the SAMS system are for leaks. Unfortunately, there is not enough detail in this information to adequately identify the specific leak location or type of leak.





Instructions:  





Utilize the attached 1-page data collection form  in conjunction with existing procedures to thoroughly document and define as many details as possible when a leak is repaired within the warranty period.  FAX the completed form to CSS Service Engineering in Syracuse at (315) 432-6572.  Please make copies of  the attached data collection form because it is not set up to be ordered through literature distribution.





Expected Results:  





Improvements in product design and manufacture that will significantly improve the leak integrity of the product are expected.





OUR THANKS TO ED WRIGHT FOR DRAFTING THIS BULLETIN AND DATA COLLECTION FORM.





�
SERVICE BULLETIN DISTRIBUTION





BULLETIN NAME:  � REF title \* MERGEFORMAT �LEAK IDENTIFICATION AND REDUCTION  �





BULLETIN NUMBER:  � REF number \* MERGEFORMAT �Error! Reference source not found.�





AUTHOR:  � REF author \* MERGEFORMAT �Error! Reference source not found.�





COLLS:


	MODEL CODE:	� REF units \* MERGEFORMAT �Error! Reference source not found.�


	KEY WORDS:	





�
�
Mail Key�
COIN�
cc:Mail�
�
X�
DOMESTIC SERVICE PERSONNEL


   BSS Regional Operations Managers


   BSS Area Managers


   BSS Account Executives


   BSS Technical Consultants


   BSS Service Offices


   BSS Regional General Managers


   BSS Service Managers and Mechanics�



2.40A


2.40B


2.40D


2.40M


-


2.40


2.46A�



#BSS-ROM


-


-


#CBSTSE


#BSSSVC


#BSS-RGM


-�
�
�
X�
INTERNATIONAL SERVICE PERSONNEL


   International Service Managers


   Miscellaneous Service Personnel�



5.25G


2.33A�



#SBMISC


#SBMISC�
�
�
�
DOMESTIC SALES PERSONNEL


   Canadian Field Sales


   BSS/ESS Sales/Managers





(Service Bulletins which relate to application)�



2.44


2.40L�



#CSD-CND


#BSSESS�
�
�
�
INTERNATIONAL SALES PERSONNEL


   International Marketing Managers





(Service Bulletins which relate to application)�



5.25C�



#CIC-ASC�
�
�
X�
SPECIAL DISTRIBUTION


   CAES Products, Service & SO Engineers


   Miscellaneous Eng, Mktg, RCD Personnel�



2.33B


2.33D�



#SBMISC�
�
�



� REF number \* MERGEFORMAT �Error! Reference source not found.� - � REF title \* MERGEFORMAT �LEAK IDENTIFICATION AND REDUCTION  �


Page � PAGE �1�








LEAK IDENTIFICATION AND REDUCTION  �
�
C9832�
�
�
�
12/11/98�
�
�
�
New�
�
�
19XR, 19XRT, 23XL�
�
N/A�
�






File:  Specified Parts�
�
�
�
�
�
�
�
�
Regis Kelsesky�
�
�
Alan M. Johnson�
�
�
�
�
�
Mail Keys:  2.33A, 2.33B, 2.33D, 2.40, 2.40A, 2.40B, 2.40D, 2.40M, 2.46A, 5.25G�
�






� REF number \* MERGEFORMAT �Error! Reference source not found.� - � REF title \* MERGEFORMAT �LEAK IDENTIFICATION AND REDUCTION  �


Page � PAGE �3�








Title�
�
Number�
�
�
�
Date�
�
�
�
S/S�
�
�
�
�
Date�
�






File:  �
�
�
�
�
�
�
�
�
Tom Pietrowicz�
�
�
Alan M. Johnson�
�
�
�
�
�
Mail Keys:  2.33A, 2.33B, 2.33D, 2.40, 2.40A, 2.40B, 2.40D, 2.40M, 2.46A, 5.25G�
�
























