�
Purpose:





To provide information on whom to contact when problems arise with centrifugal and rotary compressor motor starters.





Background:





At the present time our primary sources for motor starters are Cutler-Hammer for low and medium voltage electromechanical and Benshaw Inc. for solid state.  Both of these companies as well as the following listed manufactures have committed to provide support to Carrier as needed to correct product problems.  In general, the warranty period matches Carrier’s; 18 months from date of shipment or 12 months from date of first beneficial use whichever is less.  Contact the starter manufacturer before performing warranty work.  They will usually provide replacement parts and a labor allowance when advised of a problem and when failed parts are returned.





Recommendation:





The best service support can usually be obtained from a local contact if one is available.  It is recommended that a relationship be established with local representatives as a first line of assistance.  The following additional contacts are available and should be used in the order listed for each manufacturer:








Benshaw Inc.





Benshaw Inc. has a centralized support location.  All sales and support is located in one office.  Benshaw requires that the starter serial number be provided when inquiring about their products.  The serial number is a six digit number located on the nameplate inside the starter cabinet.





Mr. Mike Kelly, Customer Service Manager			     Phone: (412) 487-8235


Benshaw Inc.							     Fax:     (412) 487-4201


1659 East Sutter Road				


Glenshaw, PA 15116				   Email address: mkelly@benshaw.com


					          Internet web page address: www.benshaw.com








Eaton / Cutler-Hammer / Westinghouse





Cutler-Hammer has a centralized support team for all of their products.  Cutler-Hammer requires that the starter serial number be available upon request when contacting for assistance.  Cutler-Hammer’s serial number is called the General Order Number.  This number comprises of three or four letters followed by six numbers.  The General Order Number is located on the nameplate inside the starter.





1.) Norm Ivady, Customer Administrator		  Phone: 1 (800) 752-5495  (In the U.S.)


Westinghouse & Cutler-Hammer Products		       (412) 494-3010  (All others)


OEM Response Center				  Fax:     1 (800) 446-4087  (In the U.S.)


160 Industry Drive					       (412) 494-3032  (All others)


Pittsburg, PA 15275


							    Email address: oemeast@ch.etn.com


				       Internet web page address: www.ch.cutler-hammer.com





2.) Mr. Gary Wenzel, Global Account Manager			     Phone: (315) 437-7204


Cutler-Hammer							     Fax:     (315) 437-0924


6700 Kirkville Road Suite B101


P.O. Box 460					     Email address: wenzeg@ch.etn.com


East Syracuse, NY 13057








General Electric





General Electric has a centralized support team.  The starter serial number must be available upon request.  The General Electric starter serial number is the General Electric Requisition number.  This number begins with the number 3036 followed by a dash (-) and five digits located on the nameplate inside the starter.





1.) GE Resolve (Resolution Engineering Group)		  Phone: 1 (888) 437-3765


General Electric ED&C						  Fax:        (860) 747-7000


41 Woodford Avenue


Plainville, CT 06062





Email address:  An email address is available upon request after the resolution engineering group has been contacted and a person is assigned to assist.





Internet web page address: www.ge.com





2.) Mr. Jeff Dawley, Sales Engineer				     Phone: (315) 456-7809


General Electric							     Fax:     (315) 685-7821


433 Electronics Parkway


P.O. Box 4841					Email address: jeff.dawley@edc.ge.com


Liverpool, NY 13088


Rockwell Automation / Allen-Bradley / Reliance Electric





Allen-Bradley’s support system comprises of a network of local sales offices.  To get the best response for your area contact the Allen-Bradley office near your area.  The sales offices can be located by visiting Allen-Bradley’s web page on the internet under Global Techical Services (GTS).  Allen-Bradley requires that the starter serial number be provide upon request.  The starter serial number is the Sales Order Number assigned at the time of order.  For low voltage electromechanical and solid state this number consists of three letters followed by three digits.  The medium voltage Sales Order Number consists of seven digits.  All of these numbers can be found on the nameplate inside the starter.





1.) Mr. Larry Rager, Sales Engineer				     Phone: (315) 463-4501


Rockwell Automation						     Fax:     (315) 463-5882


6007 Fair Lakes Road	


East Syracuse, NY 13057			Email address: lvrager@ra.rockwell.com


						          Internet web page address: www.ab.com





2.) Emergency after hours support:





1 (800) 422-4913








Siemens / Furnas





Siemens has a centralized technical support team.  The starter sales order number and manufacturing order number must be available upon request.  The sales order number consists of a number 01-1900- followed by five digits.  The manufacturing number consists of a number 02-1942- followed by five digits .  Both of these numbers are located on the nameplate inside the starter.





1.) Mr. Dave Reynolds, Technical Support			     Phone: (919) 365-2534


Siemens Power Transmission & Distribution, LLC 		     Fax:     (919) 365-2583


7000 Siemens Road	


Wendell, NC 27591		       Email address: dave.reynolds@ptd.siemens.com


					    Internet web page address: www.usa.siemens.com





2.) Mr. Thomas Sargent, Account Manager			     Phone: (716) 385-4120


Siemens Energy & Automation, Inc.				     Fax:     (716) 385-1904


2180 N. Washington Street


Rochester, NY 14625		    Email address: thomas.sargent@sea.siemens.com





�
SERVICE BULLETIN DISTRIBUTION





BULLETIN NAME:  Starter Manufacturer Assistance





BULLETIN NUMBER:  � REF number \* MERGEFORMAT �C�9911





AUTHOR:  Paul Holsinger





COLLS:


	MODEL CODE:	All Centrifugal and Rotary Chillers


	KEY WORDS:	Starter, Controls





�
�
Mail Key�
COIN�
cc:Mail�
�
X�
DOMESTIC SERVICE PERSONNEL


   BSS Regional Operations Managers


   BSS Area Managers


   BSS Account Executives


   BSS Technical Consultants


   BSS Service Offices


   BSS Regional General Managers


   BSS Service Managers and Mechanics�



2.40A


2.40B


2.40D


2.40M


-


2.40


2.46A�



#BSS-ROM


-


-


#CBSTSE


#BSSSVC


#BSS-RGM


-�
�
�
X�
INTERNATIONAL SERVICE PERSONNEL


   International Service Managers


   Miscellaneous Service Personnel�



5.25G


2.33A�



#SBMISC


#SBMISC�
�
�
�
DOMESTIC SALES PERSONNEL


   Canadian Field Sales


   BSS/ESS Sales/Managers





(Service Bulletins which relate to application)�



2.44


2.40L�



#CSD-CND


#BSSESS�
�
�
�
INTERNATIONAL SALES PERSONNEL


   International Marketing Managers





(Service Bulletins which relate to application)�



5.25C�



#CIC-ASC�
�
�
X�
SPECIAL DISTRIBUTION


   CSS Products, Service & SO Engineers


   Miscellaneous Eng, Mktg, RCD Personnel�



2.33B


2.33D�



#SBMISC�
�
�



� REF number \* MERGEFORMAT �C� - � REF title \* MERGEFORMAT �Error! Reference source not found.�


Page � PAGE �3�








Starter Manufacturer Assistance�
�
C9911�
�
�
�
3/15/99�
�
�
�
C9631�
�
�
All Centrifugal and Rotary Chillers�
�
9/10/96�
�






File:  Controls, Wiring�
�
�
�
�
�
�
�
�
Paul A. Holsinger�
�
�
Alan M. Johnson�
�
�
�
�
�
Mail Keys:  2.33A, 2.33B, 2.33D, 2.40, 2.40A, 2.40B, 2.40D, 2.40M, 2.46A, 5.25G�
�






� REF number \* MERGEFORMAT �C�9911 - Starter Manufacturer Assistance


Page � PAGE �3�








Title�
�
Number�
�
�
�
Date�
�
�
�
S/S�
�
�
�
�
Date�
�






File:  �
�
�
�
�
�
�
�
�
Paul A. Holsinger�
�
�
Alan M. Johnson�
�
�
�
�
�
Mail Keys:  2.33A, 2.33B, 2.33D, 2.40, 2.40A, 2.40B, 2.40D, 2.40M, 2.46A, 5.25G�
�
























