[image: image1.wmf] 

A United Technologies Company

Carrier

 


19XRV Field Audit Report


19XRV Field Audit Report


Technician Name:

Date of Audit:


General Chiller Information:

Job Name:




Chiller Model Number:




Chiller Serial Number:




Date of commissioning:




Chiller Operating Hours:

# of Starts:


Problems after start up:

1. Estimated number of unexpected trips since start up.


2. Estimated number of unexpected chiller trips due to the VFD.


3. Has excessive condensation been reported within the VFD enclosure?
Y  /  N

Repairs made:

Description
# of Reported Failures
Estimated Cost to Carrier *
Problem Resolved?

Surge control required tuning:
  



     Surge Parameters




     Surge Protection




Speed control required tuning




Current control required tuning, to avoid VFD over-current trips




VFD program parameters required adjustment




Chiller Controller:




     CVC




     CCM




     Other (please list): 




ISM module replaced




2 M fault




VFD controller printed circuit board replaced




VFD regulator printed circuit board replaced




Entire VFD module replaced




Drive tripped on over temperature




Control power fuses blown




Oil pump fuses blown




*For estimated cost to Carrier use the material expenditure and the service labor billing rate.

Chiller Serial Number:


Other repairs made:












Was Rockwell Automation contacted to assist in the diagnosis of a VFD problem?
Y  /  N

How would you grade the following items? (1=best, 5=worst)



best

Neutral

worst


N/A
1
2
3
4
5

1. Rockwell on-site support







2. Customer’s satisfaction with the Chiller







3. Customer’s satisfaction with the VFD option







Other comments:










Please include a copy of the commissioning report when returning this form.  Return this information to:

Clement Aladekugbe


Telephone:
704-921-3823

Carrier Corporation


Fax:

704-921-3951

9701 Old Statesville Road

Charlotte, NC 28269

(form revision date 13-Feb-2001)
Page 1 of 2
Page 2 of 2

