1
2
SMB





SERVICE BULLETIN




Carrier Corporation





	Number:  C0213
	Date: 6/3/02
	Supercedes:

	
	
	

	Title: Spare Parts for Rockwell Low Voltage,      Wye-Delta, Unit Mounted Starters
	
	

	
	
	

	Author: John Boland
	
	Dept: RCD Applied Marketing

	
	
	

	Category:  Information
	
	

	
	
	

	
	
	


MODELS AFFECTED:  

Carrier:  19XR and 23XL with Rockwell Low Voltage, Wye-Delta, Unit Mounted Starters

SITUATION: 


The bulletin is to inform the field replacement parts are available from RCD for Rockwell low voltage, wye-delta, unit-mounted starters.

SOLUTION: 

The attached bulletin (Bulletin 1000C) gives information regarding location and part numbers for different components in a typical Rockwell low voltage, wye-delta, unit-mounted starter. Please use this bulletin when ordering replacement parts from RCD.

Parts that will be stocked at RCD are:

· Contact kits

· Contactor coils

· Ammeter and Voltmeter contact assemblies

· HPR relay

If other parts are required (circuit breaker, current transformers, resistors, etc.) please contact RCD for pricing and availability. Most items can be shipped in 1 to 3 days.

If there are questions or concerns about spare parts for Rockwell low voltage, unit mounted, wye-delta starters, please contact your Applied Parts customer service representative at 315-433-4226 or contact John Boland at 315-432-7577.

File: Specified Parts

_984987439.doc
�



�
















