EXV'S CONTROL OVERRIDES SUMMARY
over_exv
Indicator (override) Description with and priority precedence
1
Very Low Saturated Suction  Temperature

2
Low Saturated Suction  Temperature

3
Cooler pinch regular control

4
Recovery Liquid Line 

5
Discharge Superheat Control

8
Very High Superheat Override in Heating

9, 10  
Mop Control

11
Low superheat  

19
MCHX Optimal subcooling determination
