19C TYPICAL ANNUAL PARTS WITH/WITHOUT BEARING INSPECTION

QTY
PART NUMBER
DESCRIPTION

COST

COST/UNIT

2
KH09FM010

OIL FILTER 


$36.04
$72.08
1
19C376221

OIL FILT GKT (OLD)
$17.92 
$17.92 

1
KK71GZ 034

OIL FILT O RING (NEW)
$  1.04 
$  1.04
1
KK74ZW325

PRG QUAD RING

$  3.52
$  3.52
2



REDI/TRANE FILTER
$36.00
$72.00

2
PP23BBOO5

DTE HVY MED OIL

$48.00
$96.00
TOTAL PARTS AND OIL LESS COND.W/B GASKET
$
262.56
1 
VARIES

COND. W/B GSKT

CONSULT PARTS
1 
OIL SAMPLE AND SHIPPING




$  80.00

ADDITIONAL PARTS IF BEARING INSPECTION IS PERFORMED
2*
19C352203

GASKOSEAL COMP3,4,5
$199.60
$399.20
OR

2*
19C652205

GASKOSEAL COMP 6,7,8
$144.00
$288.00
AND AS NEEDED

1PK
19C672711-004
FELT STRIP 4PK

$  19.04
$  19.04
 3**     19C473481

3 SHOE KEY


$  94.00
$282.00
1
19C454772LA
TAIL BRG INSP.GSKT
$  15.00
$  15.00
1
19C47 3491

REAR FELT SIZE 3-7
$  10.92
$  10.92
1
19C873491

REAR FELT SIZE 8

$   29.84
$  29.84
1
KK71GU031

REAR O RING

$     4.64
$    4.64
*= SELECT BASED ON COMPRESSOR SIZE

** = KEY(S) SHOULD BE CONSIDERED ADDITIONAL COST IF NEEDED

DW02/08
