19DG/DH TYPICAL ANNUAL PARTS

QTY
PART NUMBER
DESCRIPTION


COST

COST/UNIT

1
KH09AZ 002 
OIL FILTER (INT.)


$30.20
$30.20
1
KK71PRO30

OIL FILTER O RING

$  2.04
$  2.04
1
KK71PR035

OIL FILTER O RING

$  2.48
$  2.48
OR

2
17S40001

OIL FILTER KIT (EXT.)

$37.80
$75.60
AND

2*
KH11NG070 

STRAINER



$35.48
$ 70.96
2*
KH19YZ140

REF. FILTER


$22.24
$ 44.48
4*
PP23BBOO6

DTE 26 MINERAL OIL

$48.00
$192.00
PURGE FILTERS / SMALL COOLER CLEAN UP CORES (IF NEEDED)
2 



REDI/TRANE FILTERS

$36.00
$72.00

4



SPORLAN RC4864 

$16.00
$64.00

CONDENSER WATER BOX GASKETS (SELECT ONE BASED ON UNISHELL SIZE)

1
19DG115203

DG11-17,DH 42-46 SHELL
$15.12
$15.12
1
19DG2141133
DG20-27,DH50-57 SHELL

$14.48           $14.48

1
19DG3141133
DG31-35,DH61-73 20HOLES
$18.52
$18.52
1
19EA465104

DH 76-78 SHELL


$28.44
$28.44
1
19DG315203

DG 31,33,35 22HOLES

$25.64
$25.64  
1
19DG375203

 DG 67,37,39 SHELL

$22.52
$22.52
1 
OIL SAMPLE AND SHIPPING




           $80.00

PAINT (OPTIONAL)

1
PH23 GH017

PAINT CAN GREEN

$7.76

$46.56**

PAINT IS SOLD THROUGH RCD IN STD. PKG. OF 6**

DUE TO THE VARIETY OF OIL CHARGES, SHELL SIZES AND FILTER REQUIREMENTS AN ESTIMATED PARTS, OIL SAMPLE, AND OIL COST OF $540.00 IS RECOMMENDED IF UNIT DOES NOT HAVE A COOLER CLEANUP.
NOTE: IF UNIT HAS 4 SMALL CORE COOLER CLEANUP ADD APPROX. $64.00 IF UNIT HAS 4 LARGE CORE COOLER CLEANUP ADD APPROX. $220.00
***ADD APPROPRIATE SHIPPING COSTS FOR PARTS

DW02/08

