19DK/DM TYPICAL ANNUAL PARTS

QTY
PART NUMBER
DESCRIPTION


COST

COST/UNIT

1
KH09AZ 002 
OIL FILTER (INT.)


$30.20
$30.20
1
KK71PRO30

OIL FILTER O RING

$  2.04
$  2.04
1
KK71PR035

OIL FILTER O RING

$  2.48
$  2.48
OR

2
17S40001

OIL FILTER KIT (EXT.)

$37.80
$ 75.60
AND

2*
KH11NG070 

STRAINER



$35.48
$  70.96
1
KH19YZ140

REF. FILTER


$22.24
$  44.48
4*
PP23BBOO6

DTE 26 MINERAL OIL

$48.00
$196.00
PURGE FILTERS / SMALL COOLER CLEAN UP CORES (IF NEEDED)
2 



REDI/TRANE FILTERS

$36.00
$72.00

4



SPORLAN RC4864 

$16.00
$64.00
CONDENSER WATER BOX GASKETS (SELECT ONE BASED ON UNISHELL SIZE)

The fifth and sixth digit indicate the unishell size i.e. a 19DK78---- has a size 78 unishell

1
19DK2141003
42-57 UNISHELL


$16.32
$16.32
1
19DK3141003
61,63,65 UNISHELL

$19.72
$19.72


1
19DK4141003
71,72,73 UNISHELL

$25.20
$25.20
1
19DK4641014
76,77,78 UNISHELL

$33.60
$33.60
1 
OIL SAMPLE AND SHIPPING




           $80.00

PAINT (OPTIONAL)
1
PH23 GH017

PAINT CAN GREEN

$7.76

$46.56**

PAINT IS SOLD THROUGH RCD IN STD. PKG. OF 6**


DUE TO THE VARIETY OF OIL CHARGES, SHELL SIZES AND FILTER REQUIREMENTS AN ESTIMATED PARTS AND OIL COST OF $540.00 IS RECOMMENDED IF UNIT DOES NOT HAVE A COOLER CLEANUP.

NOTE: IF UNIT HAS 4 SMALL CORE COOLER CLEANUP ADD APPROX. $64.00 IF UNIT HAS 4 LARGE CORE COOLER CLEANUP ADD APPROX. $220.00
***ADD APPROPRIATE SHIPPING COSTS FOR PARTS

DW02/08
