19 EA DESIGN 2 ANNUAL (WITH BEARING INSPECTION) PARTS 
QTY
PART NUMBER
DESCRIPTION

COST

TOTAL COST/UNIT
2
17S40 001

OIL FILTER


$37.80
$75.60
1
891S-1/2BP

STRAINER 


$26.12
$26.12
3
PP23BB006

 DTE 26 MINERAL OIL** 
$48.00
$196.00
SUBTOTAL FOR ANNUAL W/O BEARING INSPECTION

$297.72
1
AU51YA015

GASKET


$  1.92 
$  1.92
1
KK71GZ100

RES. O RING

$  6.12
$  6.12
1
19EA421253LA
SIZE 4 INSP. GSKT

$42.80
$42.80
1
19EA511253LA
SIZE 5 INSP. GSKT

$44.80
$44.80
2
KK71GX050

BRG ORING S SIZE 4
$  2.36
$  4.72
2
KK71GX052

BRG ORING SIZE 5
$  3.36
$  6.72
1
KK71GX014

FEED ORING

$    .24
$    .24
SUBTOTAL FOR PARTS AND OIL SIZE 4 (with BRG INSP)
$360.24
SUBTOTAL FOR PARTS AND OIL SIZE 5 (with BRG INSP)
$362.24


ADD COST OF APPROPRIATE COND. W/B GASKET (BELOW)





CONDENSER W/B GASKETS (SELECT ONE)

1
19EA415104

410R42 SHELL



$27.92
1
19EA 43 5104
43 OR 45 SHELL



$35.40
1
19EA 46 5104
46 OR 47 SHELL



$28.44
1
19EA 51 5104
51,52,53 SHELL



$50.80
1
19EA 55 5104
55 OR 57 SHELL



$51.20
1
19EA595104

59 SHELL




$60.80
*+ DRIER CORES IF NEEDED
1 
OIL SAMPLE AND SHIPPING




$80.00

** MINERAL OIL IS FOR R-12 CHILLERS,
 NOTE; EXCLUDE OIL CHANGE OR ADD SIGNIFICANT COST FOR UNITS THAT HAVE BEEN CONVERTED TO R-134A. 

 CHANGE OIL ONLY IF OIL ANALYSIS RECOMMENDS OIL CHANGE PRICE OUT AT TIME OF NEED OIL IS APPROX. $600.00-700.00 AT THIS TIME, 
***ADD APPROPRIATE SHIPPING COSTS FOR PARTS


DW 02/08
