19XL TYPICAL ANNUAL PARTS 

QTY
PART NUMBER
DESCRIPTION

COST

COST/UNIT

1
02XB660004

 OIL FILTER KIT

$70.80
$70.80
1
P5028415

5/8 FL. REF. DRIER 
$36.44
$36.44
1
KH42ME060

OIL REC. FILTER 3/8 FL.
$38.64
$38.64
1
KH11NG070

STRAINER


$35.48
$35.48
OIL (RECOMMEND ANALYSIS, ONLY REPLACE IF OIL IS BAD)
OIL FOR R-22 UNITS

2
PP23BZ101-005
SYNTH.OIL 5 GAL

$ 165.60
$   331.20
8
PP23BZ101-001
SYNTH.OIL 1 GAL

$   33.20
$   265.60*
1 GAL CANS SOLD IN CASE OF 4 THROUGH RCD*
OIL FOR R-134A UNITS
2
PP23BZ103 (SW68)POE OIL (5 GAL. CAN)
$ 286.80
$  573.60
8
SW68


POE OIL (1 GAL)

$  60.00
$  480.00*
*1 GAL CANS SOLD IN CASE OF 6 THROUGH RCD OR INDIVIDUALLY THROUGH CARRIER DISTRUBUTOR
CONDENSER W/B GASKETS

1
09XB45001101
SIZE 4 COND. W/B GSKT


     $26.08
OR

1
09XB55001801
SIZE5 COND. W/B GSKT


     $35.00
COOLER W/B GASKETS

1
10XB45000601
SIZE 4 CLR W/B GSKT


     $27.44
OR

1
10XB55001801
SIZE 5 CLR W/B GSKY


     $36.72

1 
OIL SAMPLE AND SHIPPING




     $80.00
PAINT (OPTIONAL) CHOOSE COLOR
1
PH23GH017

PAINT- CAN GREEN

$  7.76     $46.56**
1
313 974-751

PAINT-CAN GREY


$  7.75     $46.50**

PAINT IS SOLD THROUGH RCD IN STD. PKG. OF 6** 
TOTAL PARTS AND OIL SAMPLE  COST FOR A TYPICAL 19 XL ANNUAL IS 

$296.00 PLUS  SHIPPING COSTS
DW02/08   
