23 XL SIZE 1 OR 2 TYPICAL ANNUAL PARTS

QTY
PART NUMBER
DESCRIPTION

COST

COST/UNIT

1
23XL660009

OIL FLTR KIT size 1 or 2
$200.00
$200.00
2*
KH11NG070

STRAINER OIL REC.
$  35.48
$  70.96
1
P5028415

5/8” FL. DRIER (C415)
$  36.44
$  36.44
* We may not change strainers on annuals depending on scope of annual

NOTE: SOME NEWER 23XL SIZE 1 OR 2 UNITS MAY USE THE SMALLER SIZE 4 FILTER (NOT LIKELY BEFORE 2003)
1
23XL660016

OIL FILTER KIT (SIZE 4)
$137.20
$137.20
COOLER OR CONDENSER WATER BOX GASKETS (CAN USE SAME 34 OR 40 BOLT PART ON SAME FRAME SIZE IE FRAME SIZES 1 OR 2)

1EA
10XB15000301
CLR/CND W/B GKT SZE 1   

$37.04
1 EA
10XB25001001
CLR/CND W/B GKT SZE 2   

$46.80
MANY OF THESE UNITS ARE 3 PASS A DIVISION PLATE GASKET STRIP MAY BE REQUIRED.

1
10XB25002001
DIV. GSKT STRIP B4 1994  

$  5.36
OR 
19XB680001

25 FOOT ROLL DIV GSKT

$80.80
  OIL (RECOMMEND ANALYSIS, ONLY REPLACE IF OIL IS BAD)

1
PP23BZ110-005
23XLOIL (5 GALLON CAN)
$347.20
$347.20
OR

5
P903-2301

23XL/30HXC OIL (1 GALLON)
$   73.20
$366.00


Note:1 gallon SW 220 ships from RCD vendor in case of 6- 1 gal cans 

(Can also use P903-1201 individual 1 gal cans or P903-1205 in 5 gal pail from distributor)   

1 
OIL SAMPLE AND SHIPPING


  
                      $80.00
PAINT (OPTIONAL) SELECT COLOR 

1
313 974-751

PAINT-CAN GREY


$7.75

$46.50**

1
PH23 GH017

PAINT CAN GREEN

$7.16

$46.56**

PAINT IS SOLD THROUGH RCD IN STD. PKG. OF 6** 
TOTAL PARTS AND OIL SAMPLE COSTS FOR A TYPICAL 23XL 1 OR 2 ANNUAL IS APPROX $365.00 - 435.00 ($400.00) + SHIPPING COSTS
02/08 DW

