23XL SIZE 4 TYPICAL ANNUAL PARTS

QTY
PART NUMBER
DESCRIPTION


COST

COST/UNIT

1 
23XL660016

OIL FILTER



$137.20
$137.20
1
P502 8415

5/8” FLARE DRIER (C 415) 
 $ 36.44
$   36.44

WATER BOX GASKETS IF NEEDED
1
09XB 45001101
COND. 150# NIH W/B GSKT


$26.08
1
10XB 4500 0101
COOLER 150# NIH W/B GSKT


$27.44
(150 # nozzle in head are by far the most common water boxes. See Epic or parts book for 300# or marine but these are rare.)

ADDITIONAL ITEMS


OIL (RECOMMEND ANALYSIS, ONLY REPLACE IF OIL IS BAD)
2
PP23BZ110-005
23XLOIL (5 GALLONS CAN)
$ 347.20
$694.40
OR

8
P903-2301

23XL/30HXC OIL (1 GALLON)
$   73.20
$585.60
Note: 1 gallon SW 220 ships from RCD vendor in case of 6-1 gal cans 

(Can also use P903-1201 individual 1 gal cans or P903-1205 in 5 gal pail from distributor) 

1 
OIL SAMPLE AND SHIPPING



                       $80.00


PAINT (OPTIONAL) SELECT COLOR 
1
313 974-751

PAINT-CAN GREY


$7.76

$46.56**
1
PH23 GH017

PAINT CAN GREEN

$7.75

$46.50**
PAINT IS SOLD THROUGH RCD IN STD. PKG. OF 6**
TOTAL PARTS COST FOR A TYPICAL SIZE 4 ANNUAL 

WITH AN OIL SAMPLE IS






$280.00
CONSIDER SHIPPING COSTS

02/08 DW

