VFD PERIODIC MAINTENANCE ESTIMATES
Most VFD’s are air cooled and should be regularly cleaned to reduce the possibility of failure. Additional services such as inspecting the VFD and tightening electrical connections may also improve the reliability of the unit. The following estimates are guidelines only; when in doubt consult someone familiar with the jobsite and the performance of services.

Generally we can estimate servicing the drives using the following approach:

Chiller drive



4 hrs per unit

100hp or less (fans and pumps)
1 hr per unit with a minimum of 4 hrs onsite.

Scope of service:

Remove dust and debris by blowing out unit

Visually inspect drive

Tighten electrical connections

Measure input and output amperages

Measure DC bus ripple

Megger motor

