[image: image1.png]EF TNl | Electrical



     




Commissioning Report                                                                 

2011


This Commissioning Report is to be completed by a certified Eaton Electrical Drives Commissioner and submitted to the Drives TRC at the completion of the VFD commissioning.  All sections must be complete and the service info file from the drive must be attached to qualify for extended warranty.  Record any non-conformances either in the comments section on page 2 or use a separate sheet of paper.  E-mail the completed form to vfdaftermarketeg@eaton.com .

VFD Installed Location

	Company Name:         

	Address:                      

	City, State, Zip:           

	Contact Name:            

	Title:                            

	Telephone:                  

	Fax:                             

	Email:                          


VFD Nameplate Information 


                              Equipment Being Operated

	G.O. Number:            
	Application (Fan, Pump, Conveyor etc.):                 

	Catalog Number:       
	Customer equipment reference or designation:       

	Serial Number:          


Motor Nameplate Information                                                              

	Cat/Part Number:         

	Manufacturer:               

	Voltage:       
	Speed:        
	Frequency:         

	HP:              
	FLA:            
	S.F.                     


Confirm Installation Conditions comply with Eaton Electric requirements

(Document all non-conformances in the comments section)

	 
	Yes
	No
	 
	Yes
	No

	Ambient Environment
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	Control Wiring
	 FORMCHECKBOX 

	  FORMCHECKBOX 


	Enclosure Rating
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	Motor Power Wiring
	 FORMCHECKBOX 

	  FORMCHECKBOX 


	VFD Mounting
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	Input Grounding
	 FORMCHECKBOX 

	 FORMCHECKBOX 


	Line Voltage wiring
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	Inverter Duty Motor
	 FORMCHECKBOX 

	 FORMCHECKBOX 


	Motor Grounding
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 
	 
	 


Pre-power static checks (Document all non-conformances in the comments section)

	
	Pass
	Fail
	
	Pass
	Fail

	Inspect power connections
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	VFD converter checks
	 FORMCHECKBOX 

	 FORMCHECKBOX 


	Motor and cables meggered
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	VFD inverter Checks
	 FORMCHECKBOX 

	 FORMCHECKBOX 


	Ohm reading of the megger test
	
	Voltage of the megger test
	


Record the following power on checks:      

	Line voltage: phase – phase:
	A-B:            
	B-C:         
	A-C:       

	Line voltage: phase – ground:
	A-G:            
	B-G:         
	C-G:       

	DC Bus Voltage:
	B+ - B-:       
	B+-G:       
	B-G:       


Record the following operational checks:

	Readings recorded at Operating Frequency:

	Line Voltage Phase – Phase:
	A-B:        
	B-C:       
	A-C:       

	Line Current (each Phase):
	A:           
	B:           
	C:           

	Motor Voltage – Monitor:       
	Output Current – Power Multimonitor:       


   Clean Power Rectifier Lead Readings (current at full power)
	L14:

	L17:

	L11:

	L13:

	L16:


	L19:

	L12:

	L15:

	L18:

	

	


Comments/Observations: (Use a separate sheet of paper if using a printed copy of this report)

	


Using 9000XDrive, download the “Service Info” file from the drive and include with this document.

	Commissioner Name
	Certification Number
	Commissioning Date
	Signature

	     
	     
	     
	     

	Phone
	Fax
	Email

	     
	     
	     


	Customer Representative
	Date
	Signature

	     
	     
	     

	Title:      
	Company:       


Customer comments or concerns:










Email completed document to vfdaftermarketeg@eaton.com 
Eaton Drives Technical Resource Center at 1 800 322-4986
1

