[image: image1.png]JTURB
8"





Complete Tool List
	Tools
	Specifications

	Allen key set
	2.5, 4, 5, 8, 14 mm 7/64"

	Torx screwdriver 
	#25 

	Phillips screwdriver 
	#2, #3 

	Precision Slotted screwdriver
	

	Assorted sockets and driver 
	14, 16, 17 mm 

15/16", 1’1/8"
14, 18 mm deep sockets

	Combination wrench set 
	5/16", 7/16", 5/8" 10, 13, 24 mm 

	Adjustable wrench 
	14”

	Manifold set 
	

	Multimeter (with clamp-type ammeter and diode setting) 
	1000V AC-DC 

	Torque wrench 
	55 ft-lbs (75 Nm), 200 in-lbs (22 Nm) 

	Putty knife 
	1” 

	Dow Thermal Paste
	

	Grounding Strap
	

	Safety glasses 
	approved, impact-resistant 

	Level
	Used in installation

	Multi probe temperature sensor 
	contact type probes

	9 pin serial cable 
	     

	Laptop computer*

	With serial port, or RS-232 Serial PCMIA Card, or USB – Serial converter

	Turbocor Proprietary software
	


* Minimum Required Computer Specs:


533Mhz Pentium Class Processor, 128Mb RAM, 150Mb Hard Disk Space, 800x600 256color display, mouse or compatible pointing device, Operating system that supports Net Framework 1.1 Re-Distributable (see below for list) 

(The .NET Framework 1.1 Re-distributable is supported on the following platforms: • Microsoft Windows® Server 2003 (.NET Framework 1.1 is installed as part of the operating system) • Windows XP Professional • Windows XP Home Edition • Windows 2000 • Windows Millennium Edition (Windows Me) • Windows 98 • Microsoft Windows NT® 4.0 Service Pack 6a)
Free Download on windows update, or at 
http://www.microsoft.com/downloads/details.aspx?FamilyID=262d25e3-f589-4842-8157-034d1e7cf3a3&displaylang=en
05 October 2005

[image: image1.png]