Turbocor Monitoring Software Installation Instructions:
Run the Setup.exe

If asked to download the Net Framework 1.1 select no, then run the dotnetfx.exe file in the folder.

Once this is installed, run the setup.exe file again.

You are now setup.
