	YORK

Process Systems
	Installation Operation Maintenance Manual


	YORK

Process Systems
	Installation Operation Maintenance Manual



ELECTRICAL CONTROL




The controls for this compressor package consist of an Allen-Bradley Flex Logix programmable logic controller (PLC), with 1756-L61 Processor, combined with an Allen-Bradley PanelView Plus 1250 color graphics display for operator interface.  Integrated into the controls are functions/features that include capacity control, auxiliary oil pump operation, surge protection, hot gas bypass automation, current limit protection, motor recycle protection, and high pressure override control.

Frick reference drawings are listed below and should be referred to for a better understanding of the operation of this system.

DRAWING NUMBER                   DESCRIPTION
 645D1279

  

Wring Diagram DWG

 669D0127



Logic Diagram

 669D0124



Pneumatic Electric Diagram
























































































































































































	Section-12
	Status: Released
	27 Feb 02  Ver 1.04



