YORK

Process Systems
Installation Operation Maintenance Manual

YORK

Process Systems
Installation Operation Maintenance Manual


INTRODUCTION

The following instructions are intended to outline the procedure to be followed for the installation, operation and maintenance of this York system.


It is important that those responsible for the installation, operation and maintenance of this system are provided a copy of this manual and thoroughly study its contents, together with the drawings, as this will help ensure successful operation of the refrigeration plant.


While the testing, charging and adjusting of the system will initially be supervised by York International, it is suggested that those who will later operate and maintain the system be present during this phase to learn first hand the procedures followed.


Standard Installation, Operating and Maintenance Instructions are included.  Where the specific instructions are different from the standard York Service Instructions, the specific instructions take precedence.  On matters not covered by the specific instructions, the standard instructions may be used.


It is suggested that any major service or maintenance operation be supervised by a factory trained service engineer of York International.  This is especially recommended should it be necessary to open the compressor or vessels for any reason.  

YORK MAINTENANCE CONTRACT

A 'York' Maintenance Contract places the responsibility for periodic inspection and repairs in the hands of one specialized source.  It ensures more efficient and continuous performance, protects your investment, reduces problems on the installation and is likely to substantially extend the useful life of the plant.


'York' can offer you a Maintenance Contract of a limited or extensive character in the number of visits per year either on a lump sum basis or on a Time and Material arrangement.


The 'York' Maintenance Contract may include:


1.
Regular and systematic inspections by skilled Service Engineers who follow an agreed list of carefully assessed operations. 


2.
A continuous up-grading of your equipment as improvements are made in YORK'S development program.


3.
Major and minor equipment examinations.


4.
Instruction on normal maintenance, if necessary, between visits to any new personnel.


5.
A written report will be submitted after work has been performed on the site.


Entry into a Maintenance Contract will become effective immediately after your system is commissioned.  Your contract can be arranged to cover associated, electrical equipment, controls, cooling towers, water treatment etc., as required.


For Service Contact see Front Sheet of this Manual.























































































































































































Introduction - York Maintenance Contract.doc
          Status:  Released
16 Apr 01  Ver 1.05





