	
	



	[image: image1.wmf]
	Customer: Mustang/Sandridge/IAG
Sales Order No.: 294100
Project: M555BA Compressor Drivelines



Site Vacuum Test Certificate
1 of 1

	Client:
	     

	
	

	Location:
	     

	
	

	Contract No.:
	     

	
	

	Refer to Evacuation Test instructions in this IOM manual.

	
	

	Required Vacuum Hold
	     
	Microns HG Abs / m Bar A   for        Hours

	
	
	

	Rise:
	     
	Microns HG Abs / m Bar A

	
	

	
	

	Actual Vacuum Hold
	
	

	
	
	
	
	Temperature
	

	Date and Time
	     
	     
	Microns HG Abs / (m Bar A)
	     
	°F / °C

	
	
	
	
	
	

	Date and Time
	     
	     
	Microns HG Abs/ (m Bar A)
	     
	°F / °C

	
	

	
	

	
	
	

	NOTE:
It is recommended that the system be evacuated to 2000 microns absolute pressure with a maximum pressure rise of 2000 microns in a four hour test period.

	
	

	

	
	

	
	

	
	

	Signed
	
	Print
	
	Customer Rep

	
	
	
	
	

	
	
	
	
	

	Signed
	
	Print
	
	York Int’l Rep

	
	

	
	
	

	
	Date:
	
	

	
	
	





























































































































































































































	Site Vacuum Test Certificate  1 of 1.doc
	Status: Released
	14 FEB 2000 - Ver 1.07



